## 1.2 mg_mL
This is for in vitro micro-tissue model of liver fibrosis using 1.2 mg/mL working solution of collagen.
↓ Input numbers here and the needed formula will be automatically generated below.
Stock concentration (mg/mL) | 3.28 | ← Input the concentration of collagen stock solution from the bottle here
Working concentration (mg/mL) | 1.2 | ← Input the needed concentration of working collagen solution here
Total volume (μL) | 1000 | ← Input the needed volume here
| Component | Volume (μL) | Note
Solution A | DMEM | 563.1585 | No serum, pre-cooled DMEM. It is not recommended to use other basal medium because the buffering salt pair concentration could be different and cause the pH of the working solution to be not accurate.
| FBS | 62.5732 | Do not use the mix solution of DMEM and FBS that stored for more than 1 day. It is recommended to freshly mix DMEM and FBS.
| NaOH (1 mol/L) | 8.4146 | This volume is equal to 0.023 * V(collagen). Use accurate pipette to load this solution. Use volumetric flask to prepare NaOH solution of precise 1 mol/L. Store the solution at 4℃ for less than 1 month. Store the solution as alliquots at -20℃ for long term.
Solution B | Normal collagen | 329.2683 | V(normal collagen) + V(labeled collagen) = V(collagen) = Total volum * Working concentraction / Stock concentration.
| Labeled collagen | 36.5854 | Collagen labelled with TAMRA, SE. The ratio of labelled collagen to normal collagen could be adjusted by the efficiency of labelling.

## 1.8 mg_mL
This is for miniaturized collagen contraction assay using 1.8 mg/mL working solution of collagen.
↓ Input numbers here and the needed formula will be automatically generated below.
Stock concentration (mg/mL) | 3.28 | ← Input the concentration of collagen stock solution from the bottle here
Working concentration (mg/mL) | 1.8 | ← Input the needed concentration of working collagen solution here
Total volume (μL) | 150 | ← Input the needed volume here
| Component | Volume (μL) | Note
Solution A | DMEM | 48.627 | No serum, pre-cooled DMEM. It is not recommended to use other basal medium because the buffering salt pair concentration could be different and cause the pH of the working solution to be not accurate.
| FBS | 5.403 | Do not use the mix solution of DMEM and FBS that stored for more than 1 day. It is recommended to freshly mix DMEM and FBS.
| 8 × PBS | 11.7596 | This volume is equal to 0.023 * V(collagen). Because more than half of the volum of the working solution is collagen, 8 × PBS is added to balance the osmotic pressure. Collagen stock solution contains very low concentration of salts, so every seven volume of collagen stock solution is mixed with one volume 8 × PBS to get the mix solution of iso-osmotic to 1 × PBS.
| NaOH (1 mol/L) | 1.8933 | This volume is equal to 0.023*V(collagen). Use accurate pipette to load this solution. Use volumetric flask to prepare NaOH solution of precise 1 mol/L. Store the solution at 4℃ for less than 1 month. Store the solution as alliquots at -20℃ for long term.
Solution B | Normal collagen | 74.0854 | V(normal collagen) + V(labeled collagen) = V(collagen) = Total volum * Working concentraction / Stock concentration.
| Labeled collagen | 8.2317 | Collagen labelled with TAMRA, SE. The ratio of labelled collagen to normal collagen could be adjusted by the efficiency of labelling.

## 5 mg_mL
This is for miniaturized collagen contraction assay using 1.8 mg/mL working solution of collagen.
↓ Input numbers here and the needed formula will be automatically generated below.
Stock concentration (mg/mL) | 10.11 | ← Input the concentration of collagen stock solution from the bottle here
Working concentration (mg/mL) | 5 | ← Input the needed concentration of working collagen solution here
Total volume (μL) | 400 | ← Input the needed volume here
| Component | Volume (μL) | Note
Solution A | DMEM | 152.429 | No serum, pre-cooled DMEM. It is not recommended to use other basal medium because the buffering salt pair concentration could be different and cause the pH of the working solution to be not accurate.
| FBS | 16.9366 | Do not use the mix solution of DMEM and FBS that stored for more than 1 day. It is recommended to freshly mix DMEM and FBS.
| 8 × PBS | 28.2606 | This volume is equal to 0.023 * V(collagen). Because more than half of the volum of the working solution is collagen, 8 × PBS is added to balance the osmotic pressure. Collagen stock solution contains very low concentration of salts, so every seven volume of collagen stock solution is mixed with one volume 8 × PBS to get the mix solution of iso-osmotic to 1 × PBS.
| NaOH (1 mol/L) | 4.55 | This volume is equal to 0.023*V(collagen). Use accurate pipette to load this solution. Use volumetric flask to prepare NaOH solution of precise 1 mol/L. Store the solution at 4℃ for less than 1 month. Store the solution as alliquots at -20℃ for long term.
Solution B | Normal collagen | 178.0415 | V(normal collagen) + V(labeled collagen) = V(collagen) = Total volum * Working concentraction / Stock concentration. Please note that stock solution could be very sticky that it should be pipetted using 20-200 μL tip after cutting or 100-1000 μL tip.
| Labeled collagen | 19.7824 | Collagen labelled with TAMRA, SE. The ratio of labelled collagen to normal collagen could be adjusted by the efficiency of labelling.